## Introduction
Web site for reference
http://www.cstl.nist.gov/nist839/839.03/index.html
(click on "Publications")
http://www.measurementuncertainty.org
http://physics.nist.gov/Document/tn1297.pdf
http://physics.nist.gov/cuu/Uncertainty/index.html
http://www.nist.gov/stat.handbook

## 3 inputs added documentation
3 inputs with added documentation in fuchsia |  |  | password to unlock = Kragten |  |  | Constants example (see note about MEF in rows 39 to 41)
[6 empty] | 1 | constant 1
Kragten spreadsheet for 3 measurement components | [5 empty] | 2 | constant 2
[6 empty] | 3 | constant 3
input variable | input variable value | u() | u() | u()
standard uncertainty
| df |  |  |  |  | degrees of freedom
Measurement Equation Inputs | Value
|  | 0 | 0 | 0
|  | 0 | 0 | 0
|  | 0 | 0 | 0
Result | [7 empty] | (ciui)2/(uc2) in %; squared contribution, (ciui)2, of each input variable divided by the squared combined uncertainty, uc2; total = 100 %
|  | 0 | 0 | 0 | ciui
combined standard uncertainty uc | 0 | 0 | 0 | 0 | (ciui)2
effective degrees of freedom df | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | <--rel (ciui)2 | #DIV/0!
coverage factor k | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | ci | Srel (ciui)2
expanded uncertainty U | #DIV/0! |  | #DIV/0! | Urelative, %
calculated result from the measurement equation formula (MEF); Fill in cells to right by 1. copying this cell, 2. selecting the cells to the right, 3. chosing"paste special" & 4. click on "paste formulas" | [5 empty] | (ciui)/ui ; approximate sensitivity coefficients
relative expanded uncertainty (%)
Kragten legend: What the cells colors represent
Enter a value in each of the color highlighted cells following the instructions below: | [6 empty] | Note that the variable name automatically appears between the parantheses in the corresponding "u() in the 1st row of green cells
In the 1st column of yellow cells, enter the input variable as written in the measurement equation (e.g. ma)
In the 2nd column of yellow cells, enter the input variable values (input quantities) from the measurement equation
In the 2nd row of green cells, enter the standard uncertainty value of the corresponding variable (from the yellow cell)
In the row of blue cells, enter the degrees of freedom
In the brown cells, the sum of the input variable value (input quantities) & its uncertainty is automatically calculated (no input required)
(The brown cells can actually be set up with any combination of inputs ± their corresponding uncertainties)
In the row of pink cells, enter the measurement equation as follows:
1. Enter measurement equation formula (MEF) in the cell immediately to the right of "Result" referencing the cell values entered in column B
Do not include any "$" in the cell references (unless the reference is to a constant in a cell outside the spreadsheet)
2. Using the cell with the MEF you just computed, copy the MEF into those cells; If the MEF contains any constants:
(1) | enter the constant in a cell that is outside of the Kragten blank worksheet (see example in cells G2 through H4)
(2) | reference the constants in the MEF as an absolute (non-changing) reference (e.g. $g$2, not G2)
The % values in the row with the red font are the squared contributions, (ciui)2, of each input variable (input quantity) to the uncertainty divided by the squared combined uncertainty, u2c
These % values are calculated automatically, no input values are required
The sum of the values equals 100 %
This relative value indicates the contribution of the individual value to the total variance
The relative contribution of the individual value to the combined uncertainty (square root of variance) is less
The "ci" values in the row with the blue font are the approximate sensitivity coefficients (approximations of the partial derivatives obtained from calculus)
These ci values quantify how the output (y) changes with a small change in the input (xi)
NOTE: Type A uncertainties (e.g. repeatability) can be added by including the following steps
(see example A2, pp. 42-49, in the EURACHEM CITAC Guide Quantifying Uncertainty in Analytical Mesurement)
pdf can be downloaded from | http://www.measurementuncertainty.org/mu/QUAM2000-1.pdf
(1) choose a spreadsheet with 1 more inputs to include the Type A uncertainty as another input (e.g. 4 instead of 3)
(2) enter a variable name for the Type A uncertainty (e.g. "rep")
(3) enter a value of "1" for the Type A uncertainty in the cell for the variable value
(4) reference the cell containing the value of 1 in the MEF so that the rest of the MEF is multiplied by 1
(5) enter a value equal to the relative Type A uncertainty in the "u()" standard uncertainty cell (e.g. "0.005" for 0.5 % relative standard uncertainty)
(6) enter the df for the Type A uncertainty in the corresponding cell
Using these steps the addition of the Type A uncertainty does not change the calculated result and the expanded uncertainty includes the Type A uncertainty.

## Input Table
password to unlock = Kragten
Input Table | Use this input table with added rows to match the appropriate Kragten spreadsheet
Input description | Variable name, symbol | Value | units | Reported uncer. | Type | Distribution | Factor to normalize | Standard uncer., ui | Rel. ui (%) | df
[8 empty] | #DIV/0! | #DIV/0!

## 1 Input
Kragten spreadsheet for 1 measurement component |  |  |  |  | password to unlock = Kragten
u()
df
Measurement Equation Inputs | Value
0
Result
|  | 0 | ciui
uc | 0 | 0 | (ciui)2
df | #DIV/0! | #DIV/0! | <--rel (ciui)2 | #DIV/0!
k | #DIV/0! | #DIV/0! | ci | Srel (ciui)2
U | #DIV/0! | #DIV/0! | Urelative, %
Kragten legend: What the cell colors represent
Enter a value in each of the color highlighted cells following the instructions below:
In the 1st column of yellow cells, enter the input variable as written in the measurement equation (e.g. ma)
In the 2nd column of yellow cells, enter the input variable values from the measurement equation
In the 2nd row of green cells, enter the standard uncertainty value of the corresponding variable (from the yellow cell)
In the row of blue cells, enter the degrees of freedom
In the brown cells, the sum of the input variable value & its uncertainty is automatically calculated (no input required)
(The brown cells can actually be set up with any combination of inputs ± their corresponding uncertainties)
In the row of pink cells, enter the measurement equation as follows:
1. Enter measurement equation formula (MEF) in the cell immediately to the right of "Result" referencing the cell values entered in column B
Do not include any "$" in the cell references (unless the reference is to a constant in a cell outside the spreadsheet)
2. Using the cell with the MEF you just computed, copy the MEF into those cells
The % values in the row with the red font are the squared contributions, (ciui)2, of each input variable to the uncertainty divided by the squared combined uncertainty, u2c
These % values are calculated automatically, no input values are required
The "ci" values in the row with the blue font are the approximate sensitivity coefficients (approximations of the partial derivatives obtained from calculus)

## 2 Inputs
Kragten spreadsheet for 2 measurement components |  |  |  |  | password to unlock = Kragten
|  | u() | u()
df
Measurement Equation Inputs | Value
|  | 0 | 0
|  | 0 | 0
Result
|  | 0 | 0 | ciui
uc | 0 | 0 | 0 | (ciui)2
df | #DIV/0! | #DIV/0! | #DIV/0! | <--rel (ciui)2 | #DIV/0!
k | #DIV/0! | #DIV/0! | #DIV/0! | ci | Srel (ciui)2
U | #DIV/0! |  | #DIV/0! | Urelative, %
Kragten legend: What the cell colors represent
Enter a value in each of the color highlighted cells following the instructions below:
In the 1st column of yellow cells, enter the input variable as written in the measurement equation (e.g. ma)
In the 2nd column of yellow cells, enter the input variable values from the measurement equation
In the 2nd row of green cells, enter the standard uncertainty value of the corresponding variable (from the yellow cell)
In the row of blue cells, enter the degrees of freedom
In the brown cells, the sum of the input variable value & its uncertainty is automatically calculated (no input required)
(The brown cells can actually be set up with any combination of inputs ± their corresponding uncertainties)
In the row of pink cells, enter the measurement equation as follows:
1. Enter measurement equation formula (MEF) in the cell immediately to the right of "Result" referencing the cell values entered in column B
Do not include any "$" in the cell references (unless the reference is to a constant in a cell outside the spreadsheet)
2. Using the cell with the MEF you just computed, copy the MEF into those cells
The % values in the row with the red font are the squared contributions, (ciui)2, of each input variable to the uncertainty divided by the squared combined uncertainty, u2c
These % values are calculated automatically, no input values are required
The "ci" values in the row with the blue font are the approximate sensitivity coefficients (approximations of the partial derivatives obtained from calculus)

## 3 Inputs
Kragten spreadsheet for 3 measurement components |  |  |  |  | password to unlock = Kragten
|  | u() | u() | u()
df
Measurement Equation Inputs | Value
|  | 0 | 0 | 0
|  | 0 | 0 | 0
|  | 0 | 0 | 0
Result
|  | 0 | 0 | 0 | ciui
uc | 0 | 0 | 0 | 0 | (ciui)2
df | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | <--rel (ciui)2 | #DIV/0!
k | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | ci | Srel (ciui)2
U | #DIV/0! |  | #DIV/0! | Urelative, %
Kragten legend: What the cell colors represent
Enter a value in each of the color highlighted cells following the instructions below:
In the 1st column of yellow cells, enter the input variable as written in the measurement equation (e.g. ma)
In the 2nd column of yellow cells, enter the input variable values from the measurement equation
In the 2nd row of green cells, enter the standard uncertainty value of the corresponding variable (from the yellow cell)
In the row of blue cells, enter the degrees of freedom
In the brown cells, the sum of the input variable value & its uncertainty is automatically calculated (no input required)
(The brown cells can actually be set up with any combination of inputs ± their corresponding uncertainties)
In the row of pink cells, enter the measurement equation as follows:
1. Enter measurement equation formula (MEF) in the cell immediately to the right of "Result" referencing the cell values entered in column B
Do not include any "$" in the cell references (unless the reference is to a constant in a cell outside the spreadsheet)
2. Using the cell with the MEF you just computed, copy the MEF into those cells
The % values in the row with the red font are the squared contributions, (ciui)2, of each input variable to the uncertainty divided by the squared combined uncertainty, u2c
These % values are calculated automatically, no input values are required
The "ci" values in the row with the blue font are the approximate sensitivity coefficients (approximations of the partial derivatives obtained from calculus)

## 4 Inputs
Kragten spreadsheet for 4 measurement components |  |  |  |  | password to unlock = Kragten
|  | u() | u() | u() | u()
df
Measurement Equation Inputs | Value
|  | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0
Result
|  | 0 | 0 | 0 | 0 | ciui
uc | 0 | 0 | 0 | 0 | 0 | (ciui)2
df | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | <--rel (ciui)2 | #DIV/0!
k | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | ci | Srel (ciui)2
U | #DIV/0! |  | #DIV/0! | Urelative, %
Kragten legend: What the cell colors represent
Enter a value in each of the color highlighted cells following the instructions below:
In the 1st column of yellow cells, enter the input variable as written in the measurement equation (e.g. ma)
In the 2nd column of yellow cells, enter the input variable values from the measurement equation
In the 2nd row of green cells, enter the standard uncertainty value of the corresponding variable (from the yellow cell)
In the row of blue cells, enter the degrees of freedom
In the brown cells, the sum of the input variable value & its uncertainty is automatically calculated (no input required)
(The brown cells can actually be set up with any combination of inputs ± their corresponding uncertainties)
In the row of pink cells, enter the measurement equation as follows:
1. Enter measurement equation formula (MEF) in the cell immediately to the right of "Result" referencing the cell values entered in column B
Do not include any "$" in the cell references (unless the reference is to a constant in a cell outside the spreadsheet)
2. Using the cell with the MEF you just computed, copy the MEF into those cells
The % values in the row with the red font are the squared contributions, (ciui)2, of each input variable to the uncertainty divided by the squared combined uncertainty, u2c
These % values are calculated automatically, no input values are required
The "ci" values in the row with the blue font are the approximate sensitivity coefficients (approximations of the partial derivatives obtained from calculus)

## 5 Inputs
Kragten spreadsheet for 5 measurement components |  |  |  |  | password to unlock = Kragten
|  | u() | u() | u() | u() | u()
df
Measurement Equation Inputs | Value
|  | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0
Result
|  | 0 | 0 | 0 | 0 | 0 | ciui
uc | 0 | 0 | 0 | 0 | 0 | 0 | (ciui)2
df | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | <--rel (ciui)2 | #DIV/0!
k | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | ci | Srel (ciui)2
U | #DIV/0! |  | #DIV/0! | Urelative, %
Kragten legend: What the cell colors represent
Enter a value in each of the color highlighted cells following the instructions below:
In the 1st column of yellow cells, enter the input variable as written in the measurement equation (e.g. ma)
In the 2nd column of yellow cells, enter the input variable values from the measurement equation
In the 2nd row of green cells, enter the standard uncertainty value of the corresponding variable (from the yellow cell)
In the row of blue cells, enter the degrees of freedom
In the brown cells, the sum of the input variable value & its uncertainty is automatically calculated (no input required)
(The brown cells can actually be set up with any combination of inputs ± their corresponding uncertainties)
In the row of pink cells, enter the measurement equation as follows:
1. Enter measurement equation formula (MEF) in the cell immediately to the right of "Result" referencing the cell values entered in column B
Do not include any "$" in the cell references (unless the reference is to a constant in a cell outside the spreadsheet)
2. Using the cell with the MEF you just computed, copy the MEF into those cells
The % values in the row with the red font are the squared contributions, (ciui)2, of each input variable to the uncertainty divided by the squared combined uncertainty, u2c
These % values are calculated automatically, no input values are required
The "ci" values in the row with the blue font are the approximate sensitivity coefficients (approximations of the partial derivatives obtained from calculus)

## 6 Inputs
Kragten spreadsheet for 6 measurement components |  |  |  |  | password to unlock = Kragten
|  | u() | u() | u() | u() | u() | u()
df
Measurement Equation Inputs | Value
|  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0
Result
|  | 0 | 0 | 0 | 0 | 0 | 0 | ciui
uc | 0 | 0 | 0 | 0 | 0 | 0 | 0 | (ciui)2
df | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | <--rel (ciui)2 | #DIV/0!
k | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | ci | Srel (ciui)2
U | #DIV/0! |  | #DIV/0! | Urelative, %
Kragten legend: What the cell colors represent
Enter a value in each of the color highlighted cells following the instructions below:
In the 1st column of yellow cells, enter the input variable as written in the measurement equation (e.g. ma)
In the 2nd column of yellow cells, enter the input variable values from the measurement equation
In the 2nd row of green cells, enter the standard uncertainty value of the corresponding variable (from the yellow cell)
In the row of blue cells, enter the degrees of freedom
In the brown cells, the sum of the input variable value & its uncertainty is automatically calculated (no input required)
(The brown cells can actually be set up with any combination of inputs ± their corresponding uncertainties)
In the row of pink cells, enter the measurement equation as follows:
1. Enter measurement equation formula (MEF) in the cell immediately to the right of "Result" referencing the cell values entered in column B
Do not include any "$" in the cell references (unless the reference is to a constant in a cell outside the spreadsheet)
2. Using the cell with the MEF you just computed, copy the MEF into those cells
The % values in the row with the red font are the squared contributions, (ciui)2, of each input variable to the uncertainty divided by the squared combined uncertainty, u2c
These % values are calculated automatically, no input values are required
The "ci" values in the row with the blue font are the approximate sensitivity coefficients (approximations of the partial derivatives obtained from calculus)

## 7 Inputs
Kragten spreadsheet for 7 measurement components |  |  |  |  | password to unlock = Kragten
|  | u() | u() | u() | u() | u() | u() | u()
df
Measurement Equation Inputs | Value
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Result
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ciui
uc | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | (ciui)2
df | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | <--rel (ciui)2 | #DIV/0!
k | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | ci | Srel (ciui)2
U | #DIV/0! |  | #DIV/0! | Urelative, %
Kragten legend: What the cell colors represent
Enter a value in each of the color highlighted cells following the instructions below:
In the 1st column of yellow cells, enter the input variable as written in the measurement equation (e.g. ma)
In the 2nd column of yellow cells, enter the input variable values from the measurement equation
In the 2nd row of green cells, enter the standard uncertainty value of the corresponding variable (from the yellow cell)
In the row of blue cells, enter the degrees of freedom
In the brown cells, the sum of the input variable value & its uncertainty is automatically calculated (no input required)
(The brown cells can actually be set up with any combination of inputs ± their corresponding uncertainties)
In the row of pink cells, enter the measurement equation as follows:
1. Enter measurement equation formula (MEF) in the cell immediately to the right of "Result" referencing the cell values entered in column B
Do not include any "$" in the cell references (unless the reference is to a constant in a cell outside the spreadsheet)
2. Using the cell with the MEF you just computed, copy the MEF into those cells
The % values in the row with the red font are the squared contributions, (ciui)2, of each input variable to the uncertainty divided by the squared combined uncertainty, u2c
These % values are calculated automatically, no input values are required
The "ci" values in the row with the blue font are the approximate sensitivity coefficients (approximations of the partial derivatives obtained from calculus)

## 8 Inputs
Kragten spreadsheet for 8 measurement components |  |  |  |  | password to unlock = Kragten
|  | u() | u() | u() | u() | u() | u() | u() | u()
df
Measurement Equation Inputs | Value
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Result
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ciui
uc | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | (ciui)2
df | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | <--rel (ciui)2 | #DIV/0!
k | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | ci | Srel (ciui)2
U | #DIV/0! |  | #DIV/0! | Urelative, %
Kragten legend: What the cell colors represent
Enter a value in each of the color highlighted cells following the instructions below:
In the 1st column of yellow cells, enter the input variable as written in the measurement equation (e.g. ma)
In the 2nd column of yellow cells, enter the input variable values from the measurement equation
In the 2nd row of green cells, enter the standard uncertainty value of the corresponding variable (from the yellow cell)
In the row of blue cells, enter the degrees of freedom
In the brown cells, the sum of the input variable value & its uncertainty is automatically calculated (no input required)
(The brown cells can actually be set up with any combination of inputs ± their corresponding uncertainties)
In the row of pink cells, enter the measurement equation as follows:
1. Enter measurement equation formula (MEF) in the cell immediately to the right of "Result" referencing the cell values entered in column B
Do not include any "$" in the cell references (unless the reference is to a constant in a cell outside the spreadsheet)
2. Using the cell with the MEF you just computed, copy the MEF into those cells
The % values in the row with the red font are the squared contributions, (ciui)2, of each input variable to the uncertainty divided by the squared combined uncertainty, u2c
These % values are calculated automatically, no input values are required
The "ci" values in the row with the blue font are the approximate sensitivity coefficients (approximations of the partial derivatives obtained from calculus)

## 9 Inputs
Kragten spreadsheet for 9 measurement components |  |  |  |  | password to unlock = Kragten
|  | u() | u() | u() | u() | u() | u() | u() | u() | u()
df
Measurement Equation Inputs | Value
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Result
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ciui
uc | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | (ciui)2
df | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | <--rel (ciui)2 | #DIV/0!
k | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | ci | Srel (ciui)2
U | #DIV/0! |  | #DIV/0! | Urelative, %
Kragten legend: What the cell colors represent
Enter a value in each of the color highlighted cells following the instructions below:
In the 1st column of yellow cells, enter the input variable as written in the measurement equation (e.g. ma)
In the 2nd column of yellow cells, enter the input variable values from the measurement equation
In the 2nd row of green cells, enter the standard uncertainty value of the corresponding variable (from the yellow cell)
In the row of blue cells, enter the degrees of freedom
In the brown cells, the sum of the input variable value & its uncertainty is automatically calculated (no input required)
(The brown cells can actually be set up with any combination of inputs ± their corresponding uncertainties)
In the row of pink cells, enter the measurement equation as follows:
1. Enter measurement equation formula (MEF) in the cell immediately to the right of "Result" referencing the cell values entered in column B
Do not include any "$" in the cell references (unless the reference is to a constant in a cell outside the spreadsheet)
2. Using the cell with the MEF you just computed, copy the MEF into those cells
The % values in the row with the red font are the squared contributions, (ciui)2, of each input variable to the uncertainty divided by the squared combined uncertainty, u2c
These % values are calculated automatically, no input values are required
The "ci" values in the row with the blue font are the approximate sensitivity coefficients (approximations of the partial derivatives obtained from calculus)

## 10 Inputs
Kragten spreadsheet for 10 measurement components |  |  |  |  | password to unlock = Kragten
|  | u() | u() | u() | u() | u() | u() | u() | u() | u() | u()
df
Measurement Equation Inputs | Value
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Result
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ciui
uc | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | (ciui)2
df | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | <--rel (ciui)2 | #DIV/0!
k | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | ci | Srel (ciui)2
U | #DIV/0! |  | #DIV/0! | Urelative, %
Kragten legend: What the cell colors represent
Enter a value in each of the color highlighted cells following the instructions below:
In the 1st column of yellow cells, enter the input variable as written in the measurement equation (e.g. ma)
In the 2nd column of yellow cells, enter the input variable values from the measurement equation
In the 2nd row of green cells, enter the standard uncertainty value of the corresponding variable (from the yellow cell)
In the row of blue cells, enter the degrees of freedom
In the brown cells, the sum of the input variable value & its uncertainty is automatically calculated (no input required)
(The brown cells can actually be set up with any combination of inputs ± their corresponding uncertainties)
In the row of pink cells, enter the measurement equation as follows:
1. Enter measurement equation formula (MEF) in the cell immediately to the right of "Result" referencing the cell values entered in column B
Do not include any "$" in the cell references (unless the reference is to a constant in a cell outside the spreadsheet)
2. Using the cell with the MEF you just computed, copy the MEF into those cells
The % values in the row with the red font are the squared contributions, (ciui)2, of each input variable to the uncertainty divided by the squared combined uncertainty, u2c
These % values are calculated automatically, no input values are required
The "ci" values in the row with the blue font are the approximate sensitivity coefficients (approximations of the partial derivatives obtained from calculus)

## 11 Inputs
Kragten spreadsheet for 11 measurement components |  |  |  |  | password to unlock = Kragten
|  | u() | u() | u() | u() | u() | u() | u() | u() | u() | u() | u()
df
Measurement Equation Inputs | Value
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Result
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ciui
uc | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | (ciui)2
df | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | <--rel (ciui)2 | #DIV/0!
k | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | ci | Srel (ciui)2
U | #DIV/0! |  | #DIV/0! | Urelative, %
Kragten legend: What the cell colors represent
Enter a value in each of the color highlighted cells following the instructions below:
In the 1st column of yellow cells, enter the input variable as written in the measurement equation (e.g. ma)
In the 2nd column of yellow cells, enter the input variable values from the measurement equation
In the 2nd row of green cells, enter the standard uncertainty value of the corresponding variable (from the yellow cell)
In the row of blue cells, enter the degrees of freedom
In the brown cells, the sum of the input variable value & its uncertainty is automatically calculated (no input required)
(The brown cells can actually be set up with any combination of inputs ± their corresponding uncertainties)
In the row of pink cells, enter the measurement equation as follows:
1. Enter measurement equation formula (MEF) in the cell immediately to the right of "Result" referencing the cell values entered in column B
Do not include any "$" in the cell references (unless the reference is to a constant in a cell outside the spreadsheet)
2. Using the cell with the MEF you just computed, copy the MEF into those cells
The % values in the row with the red font are the squared contributions, (ciui)2, of each input variable to the uncertainty divided by the squared combined uncertainty, u2c
These % values are calculated automatically, no input values are required
The "ci" values in the row with the blue font are the approximate sensitivity coefficients (approximations of the partial derivatives obtained from calculus)

## 12 Inputs
Kragten spreadsheet for 12 measurement components |  |  |  |  | password to unlock = Kragten
|  | u() | u() | u() | u() | u() | u() | u() | u() | u() | u() | u() | u()
df
Measurement Equation Inputs | Value
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Result
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ciui
uc | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | (ciui)2
df | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | <--rel (ciui)2 | #DIV/0!
k | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | ci | Srel (ciui)2
U | #DIV/0! |  | #DIV/0! | Urelative, %
Kragten legend: What the cell colors represent
Enter a value in each of the color highlighted cells following the instructions below:
In the 1st column of yellow cells, enter the input variable as written in the measurement equation (e.g. ma)
In the 2nd column of yellow cells, enter the input variable values from the measurement equation
In the 2nd row of green cells, enter the standard uncertainty value of the corresponding variable (from the yellow cell)
In the row of blue cells, enter the degrees of freedom
In the brown cells, the sum of the input variable value & its uncertainty is automatically calculated (no input required)
(The brown cells can actually be set up with any combination of inputs ± their corresponding uncertainties)
In the row of pink cells, enter the measurement equation as follows:
1. Enter measurement equation formula (MEF) in the cell immediately to the right of "Result" referencing the cell values entered in column B
Do not include any "$" in the cell references (unless the reference is to a constant in a cell outside the spreadsheet)
2. Using the cell with the MEF you just computed, copy the MEF into those cells
The % values in the row with the red font are the squared contributions, (ciui)2, of each input variable to the uncertainty divided by the squared combined uncertainty, u2c
These % values are calculated automatically, no input values are required
The "ci" values in the row with the blue font are the approximate sensitivity coefficients (approximations of the partial derivatives obtained from calculus)

## 13 Inputs
Kragten spreadsheet for 13 measurement components |  |  |  |  | password to unlock = Kragten
|  | u() | u() | u() | u() | u() | u() | u() | u() | u() | u() | u() | u() | u()
df
Measurement Equation Inputs | Value
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Result
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ciui
uc | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | (ciui)2
df | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | <--rel (ciui)2 | #DIV/0!
k | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | ci | Srel (ciui)2
U | #DIV/0! |  | #DIV/0! | Urelative, %
Kragten legend: What the cell colors represent
Enter a value in each of the color highlighted cells following the instructions below:
In the 1st column of yellow cells, enter the input variable as written in the measurement equation (e.g. ma)
In the 2nd column of yellow cells, enter the input variable values from the measurement equation
In the 2nd row of green cells, enter the standard uncertainty value of the corresponding variable (from the yellow cell)
In the row of blue cells, enter the degrees of freedom
In the brown cells, the sum of the input variable value & its uncertainty is automatically calculated (no input required)
(The brown cells can actually be set up with any combination of inputs ± their corresponding uncertainties)
In the row of pink cells, enter the measurement equation as follows:
1. Enter measurement equation formula (MEF) in the cell immediately to the right of "Result" referencing the cell values entered in column B
Do not include any "$" in the cell references (unless the reference is to a constant in a cell outside the spreadsheet)
2. Using the cell with the MEF you just computed, copy the MEF into those cells
The % values in the row with the red font are the squared contributions, (ciui)2, of each input variable to the uncertainty divided by the squared combined uncertainty, u2c
These % values are calculated automatically, no input values are required
The "ci" values in the row with the blue font are the approximate sensitivity coefficients (approximations of the partial derivatives obtained from calculus)

## 14 Inputs
Kragten spreadsheet for 14 measurement components |  |  |  |  | password to unlock = Kragten
|  | u() | u() | u() | u() | u() | u() | u() | u() | u() | u() | u() | u() | u() | u()
df
Measurement Equation Inputs | Value
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Result
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ciui
uc | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | (ciui)2
df | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | <--rel (ciui)2 | #DIV/0!
k | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | ci | Srel (ciui)2
U | #DIV/0! |  | #DIV/0! | Urelative, %
Kragten legend: What the cell colors represent
Enter a value in each of the color highlighted cells following the instructions below:
In the 1st column of yellow cells, enter the input variable as written in the measurement equation (e.g. ma)
In the 2nd column of yellow cells, enter the input variable values from the measurement equation
In the 2nd row of green cells, enter the standard uncertainty value of the corresponding variable (from the yellow cell)
In the row of blue cells, enter the degrees of freedom
In the brown cells, the sum of the input variable value & its uncertainty is automatically calculated (no input required)
(The brown cells can actually be set up with any combination of inputs ± their corresponding uncertainties)
In the row of pink cells, enter the measurement equation as follows:
1. Enter measurement equation formula (MEF) in the cell immediately to the right of "Result" referencing the cell values entered in column B
Do not include any "$" in the cell references (unless the reference is to a constant in a cell outside the spreadsheet)
2. Using the cell with the MEF you just computed, copy the MEF into those cells
The % values in the row with the red font are the squared contributions, (ciui)2, of each input variable to the uncertainty divided by the squared combined uncertainty, u2c
These % values are calculated automatically, no input values are required
The "ci" values in the row with the blue font are the approximate sensitivity coefficients (approximations of the partial derivatives obtained from calculus)

## 15 Inputs
Kragten spreadsheet for 15 measurement components |  |  |  |  | password to unlock = Kragten
|  | u() | u() | u() | u() | u() | u() | u() | u() | u() | u() | u() | u() | u() | u() | u()
df
Measurement Equation Inputs | Value
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Result
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ciui
uc | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | (ciui)2
df | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | <--rel (ciui)2 | #DIV/0!
k | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | ci | Srel (ciui)2
U | #DIV/0! |  | #DIV/0! | Urelative, %
Kragten legend: What the cell colors represent
Enter a value in each of the color highlighted cells following the instructions below:
In the 1st column of yellow cells, enter the input variable as written in the measurement equation (e.g. ma)
In the 2nd column of yellow cells, enter the input variable values from the measurement equation
In the 2nd row of green cells, enter the standard uncertainty value of the corresponding variable (from the yellow cell)
In the row of blue cells, enter the degrees of freedom
In the brown cells, the sum of the input variable value & its uncertainty is automatically calculated (no input required)
(The brown cells can actually be set up with any combination of inputs ± their corresponding uncertainties)
In the row of pink cells, enter the measurement equation as follows:
1. Enter measurement equation formula (MEF) in the cell immediately to the right of "Result" referencing the cell values entered in column B
Do not include any "$" in the cell references (unless the reference is to a constant in a cell outside the spreadsheet)
2. Using the cell with the MEF you just computed, copy the MEF into those cells
The % values in the row with the red font are the squared contributions, (ciui)2, of each input variable to the uncertainty divided by the squared combined uncertainty, u2c
These % values are calculated automatically, no input values are required
The "ci" values in the row with the blue font are the approximate sensitivity coefficients (approximations of the partial derivatives obtained from calculus)
The % values in the row with the red font are the squared contributions, (ciui)2, of each input variable to the uncertainty divided by the squared combined uncertainty, u2c
These % values are calculated automatically, no input values are required
The "ci" values in the row with the blue font are the approximate sensitivity coefficients (approximations of the partial derivatives obtained from calculus)